## Summary
The Summary sheet is used to capture the total cost from each pricing sheet in order to identify a TOTAL BID PRICE.

## 1. Maintenance and Addl Svcs
ATTACHMENT B - Maintenance and Additional Service IFB DBS030-23 Chilling and Cooling Tower Maintenance and Repairs
***DO NOT AMEND or MODIFY THIS COST BID FORM*** 1) Bidder must bid on all line items listed on the worksheets (1, 2, 3, and 4) or their submission will be considered non responsive. 2) Bidder must submit Attachment A, Cost Bid Form excel workbook in excel format Note: The anticipated initial base term of this contract shall be three (3) years. The term of renewal shall not exceed two (2) one-year option periods.
Primary Contact Information
Bidder Name
Phone Number
Email Address
Initial Base Period Pricing
Maintenance Activities |  | Monthly Preventive Maintenance |  |  | Annual Preventive Maintenance |  |  | Additional Service Requirements
SCHOOLS | Chiller Type | Water Cooled Chiller, Cooling Tower, etc. | Air Cooled Chiller, etc. | Modular Water-Cooled Chiller, etc. | Water Cooled Chiller, Cooling Tower, etc. | Air Cooled Chiller, etc. | Modular Water-Cooled Chiller, etc. | Eddy Current Test | Legionella Test | Monthly Closed Loop Water Treatment
Accokeek Academy Lower Campus | Modular Chiller
Andrew Jackson MS | Water Cooled
Avalon | Modular Chiller
Avalon | Module 1
Avalon | Module 2
Avalon | Module 3
Avalon | Module 4
Baden ES | Water Cooled
Beacon Heights ES | Air Cooled
Beltsville Academy | Air Cooled
Benjamin Foulois ES | Air Cooled
Benjamin Stoddert MS | Air Cooled
Benjamin Tasker MS | Water Cooled
Berwyn Heights ES | Air Cooled
Bladensburg ES | Air Cooled, Chiller 1
Bladensburg ES | Air Cooled, Chiller 2
Bladensburg HS | Water Cooled Chiller 1
Bladensburg HS | Water Cooled Chiller 2
Bond Mill ES | Water Cooled
Bonnie Johns | Air Cooled, Roof Mounted - YEAR ROUND CHILLER
Bowie Annex | Air Cooled Chiller
Bowie Annex | Air Cooled Chiller 2
Bradbury Heights ES | Air Cooled
Brandywine ES | Air Cooled
Buck Lodge MS | Air Cooled, Chiller 1
Buck Lodge MS | Air Cooled, Chiller 2
Buck Lodge MS | Water Cooled Chiller
C. E. Reig Center | Air Cooled, Chiller 1
C. E. Reig Center | Air Cooled, Chiller 2
Capital Heights ES | Air Cooled
Carmody Hills ES | Air Cooled
Carole Highlands ES | Air Cooled
Catherine T. Reed ES | Air Cooled
Cesar Chavez ES | Air Cooled
Chapel Forge ECC | Air Cooled
Charles H. Flowers HS | Water Cooled, Chiller 1
Charles H. Flowers HS | Air Cooled, Chiller 2 YEAR ROUND CHILLER
Charles H. Flowers HS | Air Cooled, Chiller 3 YEAR ROUND CHILLER
Cool Spring ES | Air Cooled
Croom Rica | Water Cooled
Crossland HS | Water Cooled
Deerfield Run ES | Air Cooled
District Heights ES | Air Cooled, Chiller 1
District Heights ES | Air Cooled, Chiller 2
Dodge Park ES | Air Cooled
Doswell E. Brooks ES | Air Cooled, Roof Mounted, Chiller 1
Doswell E. Brooks ES | Air Cooled, Chiller 2
Dr. Henry Wise HS | Water Cooled, Chiller 1
Dr. Henry Wise HS | Air Cooled, YEAR ROUND CHILLER 2
Duval HS | Air Cooled
Dwight D Eisenhower MS | Water Cooled, Chiller 1 (Back Wing)
Dwight D Eisenhower MS | Water Cooled, Chiller 2 (Main Wing)
Edward Felegy | Modular Chiller
Eleanor Roosevelt HS | Water Cooled, YEAR ROUND CHILLER 1
Eleanor Roosevelt HS | Water Cooled, YEAR ROUND CHILLER 2
Ernest Everett Just MS | Water Cooled, Chiller 1
Ernest Everett Just MS | Air Cooled, YEAR ROUND CHILLER 2
Facilities Admin. Building | Air Cooled
Flintstone ES | Air Cooled
Forestville HS | Water Cooled
Frances Fuchs ECC | Air Cooled
Francis Scott Key ES | Air Cooled
Francis T Evans ES | Water Cooled
Friendly HS | Air Cooled (MPR only)
Friendly HS | Water Cooled, Chiller 1
Friendly HS | Water Cooled, Chiller 2
G. James Gholson / Cora Rice | Water Cooled, Chiller 1
G. James Gholson / Cora Rice | Air Cooled YEAR ROUND CHILLER 2
Gladys Noon Spellman ES | Air Cooled, Chiller 1
Gladys Noon Spellman ES | Air Cooled, Chiller 2
Glenarden Woods ES | Modular Chiller Module 1
Glenarden Woods ES | Modular Chiller Module 2
Glenarden Woods ES | Modular Chiller Module 3
Glenarden Woods ES | Modular chiller Module 4
Greenbelt ES | Air Cooled, Chiller 1
Greenbelt ES | Air Cooled, Chiller 2
Gwynn Park HS | Water Cooled
Gwynn Park MS | Water Cooled
H. Winship Wheatley | Water Cooled
High Bridge ES | Air Cooled, Roof Mounted, Chiller 1
High Bridge ES | Air Cooled, Roof Mounted, Chiller 2
High Point HS | Water Cooled, Basement Chiller 1
High Point HS | Water Cooled, Upstairs Chiller 2
Highland Park ES | Air Cooled, Chiller 1
Hillcrest Heights ES | Air Cooled
Hollywood ES | Air Cooled
Howard B. Owens Science Center | Air Cooled
Hyattsville ES | Water Cooled
Indian Queen ES | Water Cooled
Isaac J. Gourdine MS | Water Cooled
James Duckworth Regional | Air Cooled
James Madison MS
Jessie B. Mason | Air Cooled
John Carroll ES | Air Cooled
John E. Howard ES | Air Cooled, Chiller 1
John E. Howard ES | Air Cooled, Chiller 2
Judge S. Woods ES | Air Cooled
Judy Hoyer ( JHFLC ) | Air Cooled
Kenmoor MS | Water Cooled
Kettering ES | Air Cooled
Kingsford ES | Air Cooled
Lake Arbor ES | Air Cooled
Langley P McCormick ES | Water Cooled
Largo HS | Water Cooled, Chiller 1
Largo HS | Water Cooled, Chiller 2
Laurel ES | Air Cooled
Laurel HS | Water Cooled
Lewisdale ES | Air Cooled, Chiller 1
Lewisdale ES | Air Cooled, Chiller 2
Longfields ES | Water Cooled
Magnolia ES | Air Cooled
Marlton ES | Air Cooled
Martin Luther King Jr. MS | Water Cooled
Mary Harris “Mother” Jones | Air Cooled
Matthew Henson Elementary School | Air Cooled
Maya Angelou | Air Cooled
Montpelier ES | Air Cooled
Mount Rainier ES | N/A
Northview ES | Air Cooled
Northwestern HS | Water Cooled
Northwestern HS | Air Cooled, YEAR ROUND CHILLER
Oxon Hill ES | Water Cooled
Oxon Hill MS | Water Cooled
Oxon Hill MS | Air Cooled
Panorama ES | Air Cooled, Chiller 1
Panorama ES | Air Cooled, Chiller 2
Parkdale HS | Water Cooled
Patuxent ES | Air Cooled, Roof Mounted
Perrywood ES | Air Cooled
Phyllis Williams ES | Air Cooled
Port Towns ES | Air Cooled
Potomac HS | Air Cooled, Chiller 1
Potomac HS | Air Cooled, Chiller 2
Potomac Landing ES | Water Cooled
Riverdale ES | Water Cooled
Robert Goddard MS | Air Cooled
Robert Goddard MS | Air Cooled
Robert Gray ES | Air Cooled
Rogers Heights ES | Air Cooled, Chiller 1
Rogers Heights ES | Air Cooled. Chiller 2
Rosa L Parks ES | N/A
Rosaryville ES | Air Cooled
Samuel Ogle ES | Water Cooled
Samuel Ogle ES | Air Cooled
Samuel P. Massie ES | Air Cooled, Chiller 1
Samuel P. Massie ES | Air Cooled, Chiller 2
Sasscer Admin. Building | Air Cooled, Chiller 1
Sasscer Admin. Building | Air Cooled, Chiller 2
Scotchtown Hills ES | Air Cooled
Seat Pleasant ES | Water Cooled
Skyline ES | Air Cooled
Suitland ES | Air Cooled
Suitland HS | Air Cooled
Suitland HS Auditorium | Air Cooled, Chiller 1
Suitland HS Auditorium | Air Cooled, Chiller 2
Surrattsville HS | Water Cooled, Chiller 1
Surrattsville HS | Water Cooled, Chiller 2
Tall Oaks HS | Air Cooled
Tanglewood SPC | Air Cooled
Tayac ES | Air Cooled
Thomas Claggett ES | Water Cooled
Thomas Johnson MS | Water Cooled
Thomas Johnson MS | Air Cooled
Thomas Stone ES | Air Cooled
University Park ES | Air Cooled
William Wallace Hall ES | Air Cooled, Chiller 1
William Wallace Hall ES | Air Cooled, Chiller 2
SUB TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INITIAL BASE YEARS GRAND TOTAL | [7 empty] | 0

## 2. Maint and Addl Svcs OY 1
***DO NOT AMEND or MODIFY THIS COST BID FORM*** 1) Bidder must bid on all line items listed on the worksheets (1, 2, 3, and 4) or their submission will be considered non responsive. 2) Bidder must submit Attachment A, Cost Bid Form excel workbook in excel format Note: The anticipated initial base term of this contract shall be three (3) years. The term of renewal shall not exceed two (2) one-year option periods.
Primary Contact Information
Bidder Name
Phone Number
Email Address
Option Year 1 Pricing
Maintenance Activities |  | Monthly Preventive Maintenance |  |  | Annual Preventive Maintenance |  |  | Additional Service Requirements
SCHOOLS | Chiller Type | Water Cooled Chiller, Cooling Tower, etc. | Air Cooled Chiller, etc. | Modular Water-Cooled Chiller, etc. | Water Cooled Chiller, Cooling Tower, etc. | Air Cooled Chiller, etc. | Modular Water-Cooled Chiller, etc. | Eddy Current Test | Legionella Test | Monthly Closed Loop Water Treatment
Accokeek Academy Lower Campus | Modular Chiller
Andrew Jackson MS | Water Cooled
Avalon | Modular Chiller
Avalon | Module 1
Avalon | Module 2
Avalon | Module 3
Avalon | Module 4
Baden ES | Water Cooled
Beacon Heights ES | Air Cooled
Beltsville Academy | Air Cooled
Benjamin Foulois ES | Air Cooled
Benjamin Stoddert MS | Air Cooled
Benjamin Tasker MS | Water Cooled
Berwyn Heights ES | Air Cooled
Bladensburg ES | Air Cooled, Chiller 1
Bladensburg ES | Air Cooled, Chiller 2
Bladensburg HS | Water Cooled Chiller 1
Bladensburg HS | Water Cooled Chiller 2
Bond Mill ES | Water Cooled
Bonnie Johns | Air Cooled, Roof Mounted - YEAR ROUND CHILLER
Bowie Annex | Air Cooled Chiller
Bowie Annex | Air Cooled Chiller 2
Bradbury Heights ES | Air Cooled
Brandywine ES | Air Cooled
Buck Lodge MS | Air Cooled, Chiller 1
Buck Lodge MS | Air Cooled, Chiller 2
Buck Lodge MS | Water Cooled Chiller
C. E. Reig Center | Air Cooled, Chiller 1
C. E. Reig Center | Air Cooled, Chiller 2
Capital Heights ES | Air Cooled
Carmody Hills ES | Air Cooled
Carole Highlands ES | Air Cooled
Catherine T. Reed ES | Air Cooled
Cesar Chavez ES | Air Cooled
Chapel Forge ECC | Air Cooled
Charles H. Flowers HS | Water Cooled, Chiller 1
Charles H. Flowers HS | Air Cooled, Chiller 2 YEAR ROUND CHILLER
Charles H. Flowers HS | Air Cooled, Chiller 3 YEAR ROUND CHILLER
Cool Spring ES | Air Cooled
Croom Rica | Water Cooled
Crossland HS | Water Cooled
Deerfield Run ES | Air Cooled
District Heights ES | Air Cooled, Chiller 1
District Heights ES | Air Cooled, Chiller 2
Dodge Park ES | Air Cooled
Doswell E. Brooks ES | Air Cooled, Roof Mounted, Chiller 1
Doswell E. Brooks ES | Air Cooled, Chiller 2
Dr. Henry Wise HS | Water Cooled, Chiller 1
Dr. Henry Wise HS | Air Cooled, YEAR ROUND CHILLER 2
Duval HS | Air Cooled
Dwight D Eisenhower MS | Water Cooled, Chiller 1 (Back Wing)
Dwight D Eisenhower MS | Water Cooled, Chiller 2 (Main Wing)
Edward Felegy | Modular Chiller
Eleanor Roosevelt HS | Water Cooled, YEAR ROUND CHILLER 1
Eleanor Roosevelt HS | Water Cooled, YEAR ROUND CHILLER 2
Ernest Everett Just MS | Water Cooled, Chiller 1
Ernest Everett Just MS | Air Cooled, YEAR ROUND CHILLER 2
Facilities Admin. Building | Air Cooled
Flintstone ES | Air Cooled
Forestville HS | Water Cooled
Frances Fuchs ECC | Air Cooled
Francis Scott Key ES | Air Cooled
Francis T Evans ES | Water Cooled
Friendly HS | Air Cooled (MPR only)
Friendly HS | Water Cooled, Chiller 1
Friendly HS | Water Cooled, Chiller 2
G. James Gholson / Cora Rice | Water Cooled, Chiller 1
G. James Gholson / Cora Rice | Air Cooled YEAR ROUND CHILLER 2
Gladys Noon Spellman ES | Air Cooled, Chiller 1
Gladys Noon Spellman ES | Air Cooled, Chiller 2
Glenarden Woods ES | Modular Chiller Module 1
Glenarden Woods ES | Modular Chiller Module 2
Glenarden Woods ES | Modular Chiller Module 3
Glenarden Woods ES | Modular chiller Module 4
Greenbelt ES | Air Cooled, Chiller 1
Greenbelt ES | Air Cooled, Chiller 2
Gwynn Park HS | Water Cooled
Gwynn Park MS | Water Cooled
H. Winship Wheatley | Water Cooled
High Bridge ES | Air Cooled, Roof Mounted, Chiller 1
High Bridge ES | Air Cooled, Roof Mounted, Chiller 2
High Point HS | Water Cooled, Basement Chiller 1
High Point HS | Water Cooled, Upstairs Chiller 2
Highland Park ES | Air Cooled, Chiller 1
Hillcrest Heights ES | Air Cooled
Hollywood ES | Air Cooled
Howard B. Owens Science Center | Air Cooled
Hyattsville ES | Water Cooled
Indian Queen ES | Water Cooled
Isaac J. Gourdine MS | Water Cooled
James Duckworth Regional | Air Cooled
James Madison MS
Jessie B. Mason | Air Cooled
John Carroll ES | Air Cooled
John E. Howard ES | Air Cooled, Chiller 1
John E. Howard ES | Air Cooled, Chiller 2
Judge S. Woods ES | Air Cooled
Judy Hoyer ( JHFLC ) | Air Cooled
Kenmoor MS | Water Cooled
Kettering ES | Air Cooled
Kingsford ES | Air Cooled
Lake Arbor ES | Air Cooled
Langley P McCormick ES | Water Cooled
Largo HS | Water Cooled, Chiller 1
Largo HS | Water Cooled, Chiller 2
Laurel ES | Air Cooled
Laurel HS | Water Cooled
Lewisdale ES | Air Cooled, Chiller 1
Lewisdale ES | Air Cooled, Chiller 2
Longfields ES | Water Cooled
Magnolia ES | Air Cooled
Marlton ES | Air Cooled
Martin Luther King Jr. MS | Water Cooled
Mary Harris “Mother” Jones | Air Cooled
Matthew Henson Elementary School | Air Cooled
Maya Angelou | Air Cooled
Montpelier ES | Air Cooled
Mount Rainier ES | N/A
Northview ES | Air Cooled
Northwestern HS | Water Cooled
Northwestern HS | Air Cooled, YEAR ROUND CHILLER
Oxon Hill ES | Water Cooled
Oxon Hill MS | Water Cooled
Oxon Hill MS | Air Cooled
Panorama ES | Air Cooled, Chiller 1
Panorama ES | Air Cooled, Chiller 2
Parkdale HS | Water Cooled
Patuxent ES | Air Cooled, Roof Mounted
Perrywood ES | Air Cooled
Phyllis Williams ES | Air Cooled
Port Towns ES | Air Cooled
Potomac HS | Air Cooled, Chiller 1
Potomac HS | Air Cooled, Chiller 2
Potomac Landing ES | Water Cooled
Riverdale ES | Water Cooled
Robert Goddard MS | Air Cooled
Robert Goddard MS | Air Cooled
Robert Gray ES | Air Cooled
Rogers Heights ES | Air Cooled, Chiller 1
Rogers Heights ES | Air Cooled. Chiller 2
Rosa L Parks ES | N/A
Rosaryville ES | Air Cooled
Samuel Ogle ES | Water Cooled
Samuel Ogle ES | Air Cooled
Samuel P. Massie ES | Air Cooled, Chiller 1
Samuel P. Massie ES | Air Cooled, Chiller 2
Sasscer Admin. Building | Air Cooled, Chiller 1
Sasscer Admin. Building | Air Cooled, Chiller 2
Scotchtown Hills ES | Air Cooled
Seat Pleasant ES | Water Cooled
Skyline ES | Air Cooled
Suitland ES | Air Cooled
Suitland HS | Air Cooled
Suitland HS Auditorium | Air Cooled, Chiller 1
Suitland HS Auditorium | Air Cooled, Chiller 2
Surrattsville HS | Water Cooled, Chiller 1
Surrattsville HS | Water Cooled, Chiller 2
Tall Oaks HS | Air Cooled
Tanglewood SPC | Air Cooled
Tayac ES | Air Cooled
Thomas Claggett ES | Water Cooled
Thomas Johnson MS | Water Cooled
Thomas Johnson MS | Air Cooled
Thomas Stone ES | Air Cooled
University Park ES | Air Cooled
William Wallace Hall ES | Air Cooled, Chiller 1
William Wallace Hall ES | Air Cooled, Chiller 2
SUB TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OY1 GRAND TOTAL | [7 empty] | 0

## 3. Maint and Addl Svcs OY 2
***DO NOT AMEND or MODIFY THIS COST BID FORM*** 1) Bidder must bid on all line items listed on the worksheets (1, 2, 3, and 4) or their submission will be considered non responsive. 2) Bidder must submit Attachment A, Cost Bid Form excel workbook in excel format Note: The anticipated initial base term of this contract shall be three (3) years. The term of renewal shall not exceed two (2) one-year option periods.
Primary Contact Information
Bidder Name
Phone Number
Email Address
Option Year 2 Pricing
Maintenance Activities |  | Monthly Preventive Maintenance |  |  | Annual Preventive Maintenance |  |  | Additional Service Requirements
SCHOOLS | Chiller Type | Water Cooled Chiller, Cooling Tower, etc. | Air Cooled Chiller, etc. | Modular Water-Cooled Chiller, etc. | Water Cooled Chiller, Cooling Tower, etc. | Air Cooled Chiller, etc. | Modular Water-Cooled Chiller, etc. | Eddy Current Test | Legionella Test | Monthly Closed Loop Water Treatment
Accokeek Academy Lower Campus | Modular Chiller
Andrew Jackson MS | Water Cooled
Avalon | Modular Chiller
Avalon | Module 1
Avalon | Module 2
Avalon | Module 3
Avalon | Module 4
Baden ES | Water Cooled
Beacon Heights ES | Air Cooled
Beltsville Academy | Air Cooled
Benjamin Foulois ES | Air Cooled
Benjamin Stoddert MS | Air Cooled
Benjamin Tasker MS | Water Cooled
Berwyn Heights ES | Air Cooled
Bladensburg ES | Air Cooled, Chiller 1
Bladensburg ES | Air Cooled, Chiller 2
Bladensburg HS | Water Cooled Chiller 1
Bladensburg HS | Water Cooled Chiller 2
Bond Mill ES | Water Cooled
Bonnie Johns | Air Cooled, Roof Mounted - YEAR ROUND CHILLER
Bowie Annex | Air Cooled Chiller
Bowie Annex | Air Cooled Chiller 2
Bradbury Heights ES | Air Cooled
Brandywine ES | Air Cooled
Buck Lodge MS | Air Cooled, Chiller 1
Buck Lodge MS | Air Cooled, Chiller 2
Buck Lodge MS | Water Cooled Chiller
C. E. Reig Center | Air Cooled, Chiller 1
C. E. Reig Center | Air Cooled, Chiller 2
Capital Heights ES | Air Cooled
Carmody Hills ES | Air Cooled
Carole Highlands ES | Air Cooled
Catherine T. Reed ES | Air Cooled
Cesar Chavez ES | Air Cooled
Chapel Forge ECC | Air Cooled
Charles H. Flowers HS | Water Cooled, Chiller 1
Charles H. Flowers HS | Air Cooled, Chiller 2 YEAR ROUND CHILLER
Charles H. Flowers HS | Air Cooled, Chiller 3 YEAR ROUND CHILLER
Cool Spring ES | Air Cooled
Croom Rica | Water Cooled
Crossland HS | Water Cooled
Deerfield Run ES | Air Cooled
District Heights ES | Air Cooled, Chiller 1
District Heights ES | Air Cooled, Chiller 2
Dodge Park ES | Air Cooled
Doswell E. Brooks ES | Air Cooled, Roof Mounted, Chiller 1
Doswell E. Brooks ES | Air Cooled, Chiller 2
Dr. Henry Wise HS | Water Cooled, Chiller 1
Dr. Henry Wise HS | Air Cooled, YEAR ROUND CHILLER 2
Duval HS | Air Cooled
Dwight D Eisenhower MS | Water Cooled, Chiller 1 (Back Wing)
Dwight D Eisenhower MS | Water Cooled, Chiller 2 (Main Wing)
Edward Felegy | Modular Chiller
Eleanor Roosevelt HS | Water Cooled, YEAR ROUND CHILLER 1
Eleanor Roosevelt HS | Water Cooled, YEAR ROUND CHILLER 2
Ernest Everett Just MS | Water Cooled, Chiller 1
Ernest Everett Just MS | Air Cooled, YEAR ROUND CHILLER 2
Facilities Admin. Building | Air Cooled
Flintstone ES | Air Cooled
Forestville HS | Water Cooled
Frances Fuchs ECC | Air Cooled
Francis Scott Key ES | Air Cooled
Francis T Evans ES | Water Cooled
Friendly HS | Air Cooled (MPR only)
Friendly HS | Water Cooled, Chiller 1
Friendly HS | Water Cooled, Chiller 2
G. James Gholson / Cora Rice | Water Cooled, Chiller 1
G. James Gholson / Cora Rice | Air Cooled YEAR ROUND CHILLER 2
Gladys Noon Spellman ES | Air Cooled, Chiller 1
Gladys Noon Spellman ES | Air Cooled, Chiller 2
Glenarden Woods ES | Modular Chiller Module 1
Glenarden Woods ES | Modular Chiller Module 2
Glenarden Woods ES | Modular Chiller Module 3
Glenarden Woods ES | Modular chiller Module 4
Greenbelt ES | Air Cooled, Chiller 1
Greenbelt ES | Air Cooled, Chiller 2
Gwynn Park HS | Water Cooled
Gwynn Park MS | Water Cooled
H. Winship Wheatley | Water Cooled
High Bridge ES | Air Cooled, Roof Mounted, Chiller 1
High Bridge ES | Air Cooled, Roof Mounted, Chiller 2
High Point HS | Water Cooled, Basement Chiller 1
High Point HS | Water Cooled, Upstairs Chiller 2
Highland Park ES | Air Cooled, Chiller 1
Hillcrest Heights ES | Air Cooled
Hollywood ES | Air Cooled
Howard B. Owens Science Center | Air Cooled
Hyattsville ES | Water Cooled
Indian Queen ES | Water Cooled
Isaac J. Gourdine MS | Water Cooled
James Duckworth Regional | Air Cooled
James Madison MS
Jessie B. Mason | Air Cooled
John Carroll ES | Air Cooled
John E. Howard ES | Air Cooled, Chiller 1
John E. Howard ES | Air Cooled, Chiller 2
Judge S. Woods ES | Air Cooled
Judy Hoyer ( JHFLC ) | Air Cooled
Kenmoor MS | Water Cooled
Kettering ES | Air Cooled
Kingsford ES | Air Cooled
Lake Arbor ES | Air Cooled
Langley P McCormick ES | Water Cooled
Largo HS | Water Cooled, Chiller 1
Largo HS | Water Cooled, Chiller 2
Laurel ES | Air Cooled
Laurel HS | Water Cooled
Lewisdale ES | Air Cooled, Chiller 1
Lewisdale ES | Air Cooled, Chiller 2
Longfields ES | Water Cooled
Magnolia ES | Air Cooled
Marlton ES | Air Cooled
Martin Luther King Jr. MS | Water Cooled
Mary Harris “Mother” Jones | Air Cooled
Matthew Henson Elementary School | Air Cooled
Maya Angelou | Air Cooled
Montpelier ES | Air Cooled
Mount Rainier ES | N/A
Northview ES | Air Cooled
Northwestern HS | Water Cooled
Northwestern HS | Air Cooled, YEAR ROUND CHILLER
Oxon Hill ES | Water Cooled
Oxon Hill MS | Water Cooled
Oxon Hill MS | Air Cooled
Panorama ES | Air Cooled, Chiller 1
Panorama ES | Air Cooled, Chiller 2
Parkdale HS | Water Cooled
Patuxent ES | Air Cooled, Roof Mounted
Perrywood ES | Air Cooled
Phyllis Williams ES | Air Cooled
Port Towns ES | Air Cooled
Potomac HS | Air Cooled, Chiller 1
Potomac HS | Air Cooled, Chiller 2
Potomac Landing ES | Water Cooled
Riverdale ES | Water Cooled
Robert Goddard MS | Air Cooled
Robert Goddard MS | Air Cooled
Robert Gray ES | Air Cooled
Rogers Heights ES | Air Cooled, Chiller 1
Rogers Heights ES | Air Cooled. Chiller 2
Rosa L Parks ES | N/A
Rosaryville ES | Air Cooled
Samuel Ogle ES | Water Cooled
Samuel Ogle ES | Air Cooled
Samuel P. Massie ES | Air Cooled, Chiller 1
Samuel P. Massie ES | Air Cooled, Chiller 2
Sasscer Admin. Building | Air Cooled, Chiller 1
Sasscer Admin. Building | Air Cooled, Chiller 2
Scotchtown Hills ES | Air Cooled
Seat Pleasant ES | Water Cooled
Skyline ES | Air Cooled
Suitland ES | Air Cooled
Suitland HS | Air Cooled
Suitland HS Auditorium | Air Cooled, Chiller 1
Suitland HS Auditorium | Air Cooled, Chiller 2
Surrattsville HS | Water Cooled, Chiller 1
Surrattsville HS | Water Cooled, Chiller 2
Tall Oaks HS | Air Cooled
Tanglewood SPC | Air Cooled
Tayac ES | Air Cooled
Thomas Claggett ES | Water Cooled
Thomas Johnson MS | Water Cooled
Thomas Johnson MS | Air Cooled
Thomas Stone ES | Air Cooled
University Park ES | Air Cooled
William Wallace Hall ES | Air Cooled, Chiller 1
William Wallace Hall ES | Air Cooled, Chiller 2
SUB TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OY2 GRAND TOTAL | [7 empty] | 0

## 4. Repair Labor Material Cost
ATTACHMENT A – BID COST FORM IFB DBS030-23 Chilling and Cooling Tower Maintenance and Repairs
***DO NOT AMEND or MODIFY THIS COST BID FORM*** Bidder must bid on all line items listed on the worksheets (1, 2, 3, and 4) or their submission will be considered non responsive. Bidder must submit Attachment A, Cost Bid Form excel workbook in excel format Labor Rates: 1) Repair Labor Rates shall be quoted as fixed cost (include fringe benefits, profit, overhead, travel, administrative costs). Note: An estimate of labor hours has been entered only for the purpose of bid evaluation. Material Discount: 1) Bidder shall enter the material discount % off the manufacturer price only under Item #3 2) An estimated material cost has been entered only for the purpose of bid evaluation. The anticipated initial base term of this contract shall be three (3) years. The term of renewal shall not exceed two (2) one-year option periods.
Primary Contact Information
Bidder Name
Phone Number
Email Address
Repair Labor Cost (All-inclusive price quote)
ITEM # 1 - Rates | Fixed Labor Rate | Annual Estimated Hours | Base Term (3 years) | Extended Grand Total | Optional Year Hourly Rate Escalation Factor (%)
Lead Technician
Priority 1 - (6:00AM - 2:30PM) Response Time Within 2 Hours | 0 | 700 | X 3years | 0
Priority 1 - (After Hours) Response Time Within 2 Hours | 0 | 300 | X 3years | 0
Priority 2 - (6:00AM - 2:30PM) Response Time Within 4 - 6 Hours | 0 | 200 | X 3years | 0
Priority 2 - (After Hours) Response Time Within 4 - 6 Hours | 0 | 100 | X 3years | 0
Priority 3 - (6:00AM - 2:30PM) Response Time Within 24 Hours | 0 | 700 | X 3years | 0
Priority 3 - (After Hours) Response Time Within 24 Hours | 0 | 100 | X 3years | 0
Sunday & Holidays Hourly | 0 | 200 | X 3years | 0
Total Cost for Item #1 |  |  |  | 0
ITEM # 2 - Rates | Fixed Labor Rate | Annual Estimated Hours | Base Term (3 years) | Extended Grand Total | Optional Year Hourly Rate Escalation Factor (%)
Technician Helper
Priority 1 - (6:00AM - 2:30PM) Response Time Within 2 Hours | 0 | 700 | X 3years | 0
Priority 1 - (After Hours) Response Time Within 2 Hours | 0 | 300 | X 3years | 0
Priority 2 - (6:00AM - 2:30PM) Response Time Within 4 - 6 Hours | 0 | 700 | X 3years | 0
Priority 2 - (After Hours) Response Time Within 4 - 6 Hours | 0 | 100 | X 3years | 0
Priority 3 - (6:00AM - 2:30PM) Response Time Within 24 Hours | 0 | 700 | X 3years | 0
Priority 3 - (After Hours) Response Time Within 24 Hours | 0 | 100 | X 3years | 0
Sunday & Holidays Hourly | 0 | 200 | X 3years | 0
Total Cost for Item #2 |  |  |  | 0
TOTAL REPAIR LABOR COST (ITEMS #1 and #2) |  |  |  | 0
Material Discount % Off Manufacturer Price
ITEM # 3 - Materials | ENTER DISCOUNT % off Manufaturer Price | MULTIPLIER | ESTIMATED EXPENDITURE | TOTAL ESTIMATED COST (After Discount)
|  | (100% - Discount %) | (Base 3 Years)
| 0% | 100% | 5000 | 5000
TOTAL MATERIAL COST (ITEMS #3) |  |  |  | 5000
TOTAL BID COST FOR REPAIR LABOR AND MATERIALS (ITEMS #1, #2, AND #3) |  |  |  | 5000